Device Abstraction Layer Functions
Final
Pages

Abstract
Defines a core set of functions to RFC-0196 Device Abstraction Layer. They provide an interoperability between the different specific domains.
# Document Information
## License
DISTRIBUTION AND FEEDBACK LICENSE, Version 2.0
The OSGi Alliance hereby grants you a limited copyright license to copy and display this document (the “Distribution”) in any medium without fee or royalty. This Distribution license is exclusively for the purpose of reviewing and providing feedback to the OSGi Alliance. You agree not to modify the Distribution in any way and further agree to not participate in any way in the making of derivative works thereof, other than as a necessary result of reviewing and providing feedback to the Distribution. You also agree to cause this notice, along with the accompanying consent, to be included on all copies (or portions thereof) of the Distribution. The OSGi Alliance also grants you a perpetual, non-exclusive, worldwide, fully paid-up, royalty free, limited license (without the right to sublicense) under any applicable copyrights, to create and/or distribute an implementation of the Distribution that: (i) fully implements the Distribution including all its required interfaces and functionality; (ii) does not modify, subset, superset or otherwise extend the OSGi Name Space, or include any public or protected packages, classes, Java interfaces, fields or methods within the OSGi Name Space other than those required and authorized by the Distribution. An implementation that does not satisfy limitations (i)-(ii) is not considered an implementation of the Distribution, does not receive the benefits of this license, and must not be described as an implementation of the Distribution. "OSGi Name Space" shall mean the public class or interface declarations whose names begin with "org.osgi" or any recognized successors or replacements thereof. The OSGi Alliance expressly reserves all rights not granted pursuant to these limited copyright licenses including termination of the license at will at any time.

EXCEPT FOR THE LIMITED COPYRIGHT LICENSES GRANTED ABOVE, THE OSGi ALLIANCE DOES NOT GRANT, EITHER EXPRESSLY OR IMPLIEDLY, A LICENSE TO ANY INTELLECTUAL PROPERTY IT, OR ANY THIRD PARTIES, OWN OR CONTROL. Title to the copyright in the Distribution will at all times remain with the OSGi Alliance. The example companies, organizations, products, domain names, e-mail addresses, logos, people, places, and events depicted therein are fictitious. No association with any real company, organization, product, domain name, email address, logo, person, place, or event is intended or should be inferred.

THE DISTRIBUTION IS PROVIDED "AS IS," AND THE OSGi ALLIANCE (INCLUDING ANY THIRD PARTIES THAT HAVE CONTRIBUTED TO THE DISTRIBUTION) MAKES NO REPRESENTATIONS OR WARRANTIES, EXPRESS OR IMPLIED, INCLUDING, BUT NOT LIMITED TO, WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE, NON-INFRINGEMENT, OR TITLE; THAT THE CONTENTS OF THE DISTRIBUTION ARE SUITABLE FOR ANY PURPOSE; NOR THAT THE IMPLEMENTATION OF SUCH CONTENTS WILL NOT INFRINGE ANY THIRD PARTY PATENTS, COPYRIGHTS, TRADEMARKS OR OTHER RIGHTS.
NEITHER THE OSGi ALLIANCE NOR ANY THIRD PARTY WILL BE LIABLE FOR ANY DIRECT, INDIRECT, SPECIAL, INCIDENTAL OR CONSEQUENTIAL DAMAGES ARISING OUT OF OR RELATING TO ANY USE OR DISTRIBUTION OF THE DISTRIBUTION.

Implementation of certain elements of this Distribution may be subject to third party intellectual property rights, including without limitation, patent rights (such a third party may or may not be a member of the OSGi Alliance). The OSGi Alliance is not responsible and shall not be held responsible in any manner for identifying or failing to identify any or all such third party intellectual property rights.

The Distribution is a draft. As a result, the final product may change substantially by the time of final publication, and you are cautioned against relying on the content of this Distribution. You are encouraged to update any implementation of the Distribution if and when such Distribution becomes a final specification.

The OSGi Alliance is willing to receive input, suggestions and other feedback (“Feedback”) on the Distribution. By providing such Feedback to the OSGi Alliance, you grant to the OSGi Alliance and all its Members a non-exclusive, non-transferable, worldwide, perpetual, irrevocable, royalty-free copyright license to copy, publish, license, modify, sublicense or otherwise distribute and exploit your Feedback for any purpose. Likewise, if incorporation of your Feedback would cause an implementation of the Distribution, including as it may be modified, amended, or published at any point in the future (“Future Specification”), to necessarily infringe a patent or patent application that you own or control, you hereby commit to grant to all implementers of such Distribution or Future Specification an irrevocable, worldwide, sublicenseable, royalty free license under such patent or patent application to make, have made, use, sell, offer for sale, import and export products or services that implement such Distribution or Future Specification. You warrant that (a) to the best of your knowledge you have the right to provide this Feedback, and if you are providing Feedback on behalf of a company, you have the rights to provide Feedback on behalf of your company; (b) the Feedback is not confidential to you and does not violate the copyright or trade secret interests of another; and (c) to the best of your knowledge, use of the Feedback would not cause an implementation of the Distribution or a Future Specification to necessarily infringe any third-party patent or patent application known to you. You also acknowledge that the OSGi Alliance is not required to incorporate your Feedback into any version of the Distribution or a Future Specification.

I HEREBY ACKNOWLEDGE AND AGREE TO THE TERMS AND CONDITIONS DELINEATED ABOVE.
## Trademarks
OSGi™ is a trademark, registered trademark, or service mark of the OSGi Alliance in the US and other countries. Java is a trademark, registered trademark, or service mark of Oracle Corporation in the US and other countries. All other trademarks, registered trademarks, or service marks used in this document are the property of their respective owners and are hereby recognized.
## Feedback
This document can be downloaded from the OSGi Alliance design repository at https://github.com/osgi/design The public can provide feedback about this document by opening a bug at https://www.osgi.org/bugzilla/.
## Table of Contents

## Terminology and Document Conventions
The key words "MUST", "MUST NOT", "REQUIRED", "SHALL", "SHALL NOT", "SHOULD", "SHOULD NOT", "RECOMMENDED", "NOT RECOMMENDED", "MAY" and "OPTIONAL" in this document are to be interpreted as described in 10.1.
Source code is shown in this typeface.
## Revision History
The last named individual in this history is currently responsible for this document.

Revision	Date	Comments
Initial	Feb 21 2013	Detach the core functions from RFC-0196 Device Abstraction Layer. / Evgeni Grigorov, ProSyst Software, e.grigorov@prosyst.com
Final	Jul 04 2014	Final version for voting.

# Introduction
OSGi is gaining popularity as enabling technology for building embedded system in residential and M2M markets. In these contexts it is often necessary to communicate with IP and non-IP devices by using various protocols such as ZigBee, Z-Wave, KNX, UPnP etc. In order to provide a convenient programming model suitable for the realization of end-to-end services it is very useful to define and apply an abstraction layer which unifies the work with devices supporting different protocols.
This RFC defines a core set of functions to RFC-0196 Device Abstraction Layer. They provide an interoperability between the different specific domains. The set can be reused, extended or fully replaced into specific domain.
# Application Domain
OSGi Device Abstraction Layer RFC-0196 don't define functions, but their common representation. It doesn't guarantee interoperability between the different domains. In this way, the same functionality can be modeled in different ways and the applications will be bind to the specific interfaces.
For example, a meter function can be defined in the smart home domain as an energy meter, but in the security domain as a time meter (timer).
In order to unify the application access to the basic functionalities, a core of functions is required.
# Problem Description
The applications need to know about a set of OSGi Device Abstraction Layer functions to operate with them. They can execute operations, set and receive property values.
Illustration 1 shows one possible approach for working with heterogeneous functions, which are related to the same functionality. The smart home meter and vendor specific meter are all about the same kind of information. They collect metering information.
In this case each application must use specific API for this function. One obvious disadvantage of this model is that when a new function type is added the applications must be modified in order to support it.

Illustration 1
Much better is the approach from Illustration 2 which is defined by this RFC.

Illustration 2
In this case a core functions are introduced to ensure the interoperability between the different domains. Thus the following advantages are achieved:
- The application programmers can work with the same set of functions.
- The functions can be reused or extended.
- The application can work without modifications when a new vendor function types are registered.
# Requirements
1. The solution MUST define API for controlling devices which is applicable for all relevant device protocols.
2. The solution MUST define API for controlling devices which is independent from the device protocols.
3. The solution MUST include device access control based on user and application permissions compliant with the OSGi security model.
4. The solution SHOULD be mappable to other relevant standards such as HGI, ETSI M2M and BBF handling the remote access to device networks.
5. The solution MUST be applicable to the changeable device behavior. Sleeping/power saving devices can go and stay offline for a long time, but should be available in the defined API.
# Technical Solution
## Core Functions
Concrete function interfaces have to be defined to unify the access and control of the basic operations and related properties. The current section specifies the minimal basic set of such functionality. It can be reused and extended to cover more specific scenarios. They are about the control, monitoring and metering information.
### BooleanControl Function
BooleanControl function provides a binary control support. The property eventing must follow the definition in RFC-0196 OSGi Device Abstraction Later. The full function definition is available in the next table.
BooleanControl
Name	Description
Operations
reverse	Reverses the BooleanControl state. If the current state represents true value, it'll be reversed to false. If the current state represents false value, it'll be reversed to true.
setTrue	Sets the BooleanControl state to true value.
setFalse	Sets the BooleanControl state to false value.
Properties
data	Contains the current state of BooleanControl. The property access can be: readable, writable and eventable.
Types
light, door, window, power, other type defined in org.osgi.service.dal.functions.Types or vendor specific type.

BooleanData data structure is used to provide information about the function state. That data object contains the boolean value, the value collecting time and additional metadata. The immutable BooleanData.value field is accessible with BooleanData.getValue() getter.
The function class diagram is depicted on Illustration 3. The next code snippet sets to true all BooleanControl functions.
final ServiceReference[] booleanControlSRefs = context.getServiceReferences(
      BooleanControl.class.getName(), null);
if (null == booleanControlSRefs) {
  return; // no such services
}
for (int i = 0; i < booleanControlSRefs.length; i++) {
  final BooleanControl booleanControl = (BooleanControl) context.getService(
      binaryControlSRefs[i]);
  if (null != booleanControl) {
    booleanControl.setTrue();
  }
}
### BooleanSensor Function
BooleanSensor function provides binary sensor monitoring. It reports its state when an important event is available. There are no operations. The property eventing must follow the definition in RFC-0196 OSGi Device Abstraction Later. The full function definition is available in the next table.
BooleanSensor
Name	Description
Properties
data	Contains the current state of BooleanSensor. The property access can be: readable and eventable.
Types
light, gas, smoke, door, window, power, rain, contact, fire, occupancy, water, motion, other type defined in org.osgi.service.dal.functions.Types or vendor specific type.

BooleanSensor and BooleanControl are using the same BooleanData data structure to provide information about the state. For more details see the definition in BooleanControl Function. The function class diagram is depicted on Illustration 3.
### MultiLevelControl Function
MultiLevelControl function provides multi-level control support. The property eventing must follow the definition in RFC-0196 OSGi Device Abstraction Later. The full function definition is available in the next table.
MultiLevelControl
Name	Description
Properties
data	Contains the current state of MultiLevelControl. The property access can be: readable, writable and eventable.
Types
light, temperature, flow, pressure, humidity, gas, smoke, door, window, liquid, power, noisiness, other type defined in org.osgi.service.dal.functions.Types or vendor specific type.

LevelData data structure is used to provide information about the function level. That data object contains the BigDecimal value and the value unit. The measurement unit is used as it's defined in RFC-0196 OSGi Device Abstraction Later. The immutable LevelData.unit field is accessible with LevelData.getUnit() getter. The immutable LevelData.level field is accessible with LevelData.getLevel() getter.
The function class diagram is depicted on Illustration 3.
### MultiLevelSensor Function
MultiLevelSensor function provides multi-level sensor monitoring. It reports its state when an important event is available. There are no operations. The property eventing must follow the definition in RFC-0196 OSGi Device Abstraction Later. The full function definition is available in the next table.
MultiLevelSensor
Name	Description
Properties
data	Contains the current state of MultiLevelSensor. The property access can be: readable and eventable.
Types
light, temperature, flow, pressure, humidity, gas, smoke, door, window, liquid, power, noisiness, rain, other type defined in org.osgi.service.dal.functions.Types or vendor specific type.

MultiLevelSensor and MultiLevelControl are using the same LevelData data structure to provide information about the level. For more details see the definition in MultiLevelControl Function. The function class diagram is depicted on Illustration 3.
### Meter Function
Meter function can measure metering information.
Meter
Name	Description
Operations
resetTotal	Resets the total metering info.
Properties
total	Contains the total consumption. It has been measured since the last call of resetTotal or device initial run. The property access is readable.
current	Contains the current consumption. The property is readable.
Service Properties
dal.meter.flow	Contains the metering flow. Currently, it can be “in” and “out”.
Types
pressure, gas, power, water, heat, cold, other type defined in org.osgi.service.dal.functions.Types or vendor specific type.

Meter function is using the same LevelData data structure as MultiLevelSensor and MultiLevelControl to provide metering information. For more details see the definition in MultiLevelControl Function. The property eventing must follow the definition in RFC-0196 OSGi Device Abstraction Later. The function class diagram is depicted on Illustration 3.
### Alarm Function
Alarm function provides alarm sensor support. There is only one eventable property and no operations. The property eventing must follow the definition in RFC-0196 OSGi Device Abstraction Later.
Alarm
Name	Description
Properties
alarm	Specifies the alarm property name. The property is eventable.

AlarmData data structure is used to provide information about the available alarm. That data object contains the alarm type and severity.
The function class diagram is depicted on Illustration 3.
### Keypad Function
Keypad function provides support for keypad control. A keypad typically consists of one or more keys/buttons, which can be discerned. Different types of key presses like short and long press can typically also be detected. There is only one eventable property and no operations. The property eventing must follow the definition in RFC-0196 OSGi Device Abstraction Later.

Keypad
Name	Description
Properties
key	Specifies a property name for a key from the keypad. The property is eventable.

KeypadData data structure is used to provide information when a change with some key from device keypad has occurred. That data object contains the event type, key code and key name. Currently, there are a few predefined event types:
- EVENT_TYPE_PRESSED – used for a key pressed;
- EVENT_TYPE_PRESSED_LONG – used for a long key pressed;
- EVENT_TYPE_PRESSED_DOUBLE – used for a double key pressed;
- EVENT_TYPE_PRESSED_DOUBLE_LONG – used for a double and long key pressed;
- EVENT_TYPE_RELEASED – used for a key released.
- EVENT_TYPE_UNKNOWN – represents an unknown keypad event type.
The function class diagram is depicted on Illustration 3.
### WakeUp Function
WakeUp function provides device awake monitoring and management. It's especially applicable to battery-operated devices. Such device can notify the system that it's awake and can receive commands with an event to property PROPERTY_AWAKE. The property eventing must follow the definition in RFC-0196 OSGi Device Abstraction Later.
The device can periodically wake up for commands. The interval can be managed with PROPERTY_WAKE_UP_INTERVAL property.
The application can minimize the power consumption with sleep() operation. As a result, the device will sleep and will not receive commands to the next awake.

WakeUp
Name	Description
Properties
awake	Specifies the awake eventable property name. If the device is awake, it will trigger a property event. The property value type is BooleanData.
wakeUpInterval	Specifies the wake up interval. The device can periodically wake up and receive commands. That interval is managed by this property. The property can be readable and writable. The property value type is LevelData.
Operations
sleep	The device is forced to sleep to minimize the power consumption.

The function class diagram is depicted on Illustration 3.
Illustration 3
# Data Transfer Objects
TODO: Do we need those objects?
# Javadoc
OSGi Javadoc
2/24/14 10:32 AM
Package Summary		Page
org.osgi.service.dal.functions	Functions 1.0.	14
org.osgi.service.dal.functions.data	Function Data 1.0.	42

Package org.osgi.service.dal.functions
Functions 1.0.
See:
Description
Interface Summary		Page
Alarm	Alarm function provides alarm sensor support.	15
BooleanControl	BooleanControl function provides a boolean control support.	16
BooleanSensor	BooleanSensor function provides boolean sensor monitoring.	20
Keypad	Keypad function provides support for keypad control.	22
Meter	Meter function can measure metering information.	23
MultiLevelControl	MultiLevelControl function provides multi-level control support.	26
MultiLevelSensor	MultiLevelSensor function provides multi-level sensor monitoring.	29
Types	Shares common constants for all functions defined in this package.	31
WakeUp	WakeUp function provides device awake monitoring and management.	39

Package org.osgi.service.dal.functions Description
Functions 1.0.
Bundles wishing to use this package must list the package in the Import-Package header of the bundle's manifest. This package has two types of users: the consumers that use the API in this package and the providers that implement the API in this package.
Example import for consumers using the API in this package:
Import-Package: org.osgi.service.dal.functions; version="[1.0,2.0)"
Example import for providers implementing the API in this package:
Import-Package: org.osgi.service.dal.functions; version="[1.0,1.1)"
Interface Alarm
org.osgi.service.dal.functions
All Superinterfaces:
org.osgi.service.dal.Function

public interface Alarm
extends org.osgi.service.dal.Function
Alarm function provides alarm sensor support. There is only one eventable property and no operations.
See Also:
AlarmData

Field Summary		Page
String	PROPERTY_ALARM / Specifies the alarm property name.	15

Fields inherited from interface org.osgi.service.dal.Function
SERVICE_DESCRIPTION, SERVICE_DEVICE_UID, SERVICE_OPERATION_NAMES, SERVICE_PROPERTY_NAMES, SERVICE_REFERENCE_UIDS, SERVICE_TYPE, SERVICE_UID, SERVICE_VERSION

Methods inherited from interface org.osgi.service.dal.Function
getOperationMetadata, getPropertyMetadata, getServiceProperty

Field Detail
PROPERTY_ALARM
public static final String PROPERTY_ALARM = "alarm"
Specifies the alarm property name. The property is eventable.
See Also:
AlarmData
Interface BooleanControl
org.osgi.service.dal.functions
All Superinterfaces:
org.osgi.service.dal.Function

public interface BooleanControl
extends org.osgi.service.dal.Function
BooleanControl function provides a boolean control support. The function state is accessible with getData() getter and setData(boolean) setter. The state can be reversed with reverse() method, can be set to true value with setTrue() method and can be set to false value with setFalse() method.
As an example, the function is easily mappable to ZigBee OnOff cluster and Z-Wave Binary Switch command class. The control type can be:
- Types.TYPE_LIGHT
- Types.TYPE_DOOR
- Types.TYPE_WINDOW
- Types.TYPE_POWER
- other type defined in Types
- custom - vendor specific type
See Also:
BooleanData

Field Summary		Page
String	OPERATION_REVERSE / Specifies the reverse operation name.	17
String	OPERATION_SET_FALSE / Specifies the operation name, which sets the control state to false value.	17
String	OPERATION_SET_TRUE / Specifies the operation name, which sets the control state to true value.	17
String	PROPERTY_DATA / Specifies the state property name.	17

Fields inherited from interface org.osgi.service.dal.Function
SERVICE_DESCRIPTION, SERVICE_DEVICE_UID, SERVICE_OPERATION_NAMES, SERVICE_PROPERTY_NAMES, SERVICE_REFERENCE_UIDS, SERVICE_TYPE, SERVICE_UID, SERVICE_VERSION

Method Summary		Page
BooleanData	getData() / Returns the current state of BooleanControl.	17
void	reverse() / Reverses the BooleanControl state.	18
void	setData(boolean data) / Sets the BooleanControl state to the specified value.	18
void	setFalse() / Sets the BooleanControl state to false value.	19
void	setTrue() / Sets the BooleanControl state to true value.	18

Methods inherited from interface org.osgi.service.dal.Function
getOperationMetadata, getPropertyMetadata, getServiceProperty

Field Detail
OPERATION_REVERSE
public static final String OPERATION_REVERSE = "reverse"
Specifies the reverse operation name. The operation can be executed with reverse() method.

OPERATION_SET_TRUE
public static final String OPERATION_SET_TRUE = "setTrue"
Specifies the operation name, which sets the control state to true value. The operation can be executed with setTrue() method.

OPERATION_SET_FALSE
public static final String OPERATION_SET_FALSE = "setFalse"
Specifies the operation name, which sets the control state to false value. The operation can be executed with setFalse() method.

PROPERTY_DATA
public static final String PROPERTY_DATA = "data"
Specifies the state property name. The property value is accessible with getData() method.
See Also:
BooleanData
Method Detail
getData
BooleanData getData()
             throws UnsupportedOperationException,
                    IllegalStateException,
                    org.osgi.service.dal.DeviceException
Returns the current state of BooleanControl. It's a getter method for PROPERTY_DATA property.
Returns:
The current state of BooleanControl.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
See Also:
BooleanData, PROPERTY_DATA

setData
void setData(boolean data)
      throws UnsupportedOperationException,
             IllegalStateException,
             org.osgi.service.dal.DeviceException,
             IllegalArgumentException
Sets the BooleanControl state to the specified value. It's setter method for PROPERTY_DATA property.
Parameters:
data - The new function value.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
IllegalArgumentException - If there is an invalid argument.
See Also:
PROPERTY_DATA

reverse
void reverse()
      throws UnsupportedOperationException,
             IllegalStateException,
             org.osgi.service.dal.DeviceException
Reverses the BooleanControl state. If the current state represents true value, it'll be reversed to false. If the current state represents false value, it'll be reversed to true. The operation name is OPERATION_REVERSE.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.

setTrue
void setTrue()
      throws UnsupportedOperationException,
             IllegalStateException,
             org.osgi.service.dal.DeviceException
Sets the BooleanControl state to true value. The operation name is OPERATION_SET_TRUE.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.

setFalse
void setFalse()
       throws UnsupportedOperationException,
              IllegalStateException,
              org.osgi.service.dal.DeviceException
Sets the BooleanControl state to false value. The operation name is OPERATION_SET_FALSE.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
Interface BooleanSensor
org.osgi.service.dal.functions
All Superinterfaces:
org.osgi.service.dal.Function

public interface BooleanSensor
extends org.osgi.service.dal.Function
BooleanSensor function provides boolean sensor monitoring. It reports its state when an important event is available. The state is accessible with getData() getter. There are no operations.
As an example, the function is easily mappable to ZigBee Occupancy Sensing cluster and Z-Wave Binary Sensor command class. The sensor type can be:
- Types.TYPE_LIGHT
- Types.TYPE_GAS
- Types.TYPE_SMOKE
- Types.TYPE_DOOR
- Types.TYPE_WINDOW
- Types.TYPE_POWER
- Types.TYPE_RAIN
- Types.TYPE_CONTACT
- Types.TYPE_FIRE
- Types.TYPE_OCCUPANCY
- Types.TYPE_WATER
- Types.TYPE_MOTION
- other type defined in Types
- custom - vendor specific type
See Also:
BooleanData

Field Summary		Page
String	PROPERTY_DATA / Specifies the state property name.	21

Fields inherited from interface org.osgi.service.dal.Function
SERVICE_DESCRIPTION, SERVICE_DEVICE_UID, SERVICE_OPERATION_NAMES, SERVICE_PROPERTY_NAMES, SERVICE_REFERENCE_UIDS, SERVICE_TYPE, SERVICE_UID, SERVICE_VERSION

Method Summary		Page
BooleanData	getData() / Returns the BooleanSensorcurrent state.	21

Methods inherited from interface org.osgi.service.dal.Function
getOperationMetadata, getPropertyMetadata, getServiceProperty

Field Detail
PROPERTY_DATA
public static final String PROPERTY_DATA = "data"
Specifies the state property name. The property value is accessible with getData() getter.
Method Detail
getData
BooleanData getData()
             throws UnsupportedOperationException,
                    IllegalStateException,
                    org.osgi.service.dal.DeviceException
Returns the BooleanSensorcurrent state. It's a getter method for PROPERTY_DATA property.
Returns:
The BooleanSensor current state.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
See Also:
BooleanData
Interface Keypad
org.osgi.service.dal.functions
All Superinterfaces:
org.osgi.service.dal.Function

public interface Keypad
extends org.osgi.service.dal.Function
Keypad function provides support for keypad control. A keypad typically consists of one or more keys/buttons, which can be discerned. Different types of key presses like short and long press can typically also be detected. There is only one eventable property and no operations.
Keypad can enumerate all supported keys in the key property metadata, org.osgi.service.dal.PropertyMetadata.getEnumValues(String). KeypadData event type will be KeypadData.EVENT_TYPE_UNKNOWN in this case.
See Also:
KeypadData

Field Summary		Page
String	PROPERTY_KEY / Specifies a property name for a key from the keypad.	22

Fields inherited from interface org.osgi.service.dal.Function
SERVICE_DESCRIPTION, SERVICE_DEVICE_UID, SERVICE_OPERATION_NAMES, SERVICE_PROPERTY_NAMES, SERVICE_REFERENCE_UIDS, SERVICE_TYPE, SERVICE_UID, SERVICE_VERSION

Methods inherited from interface org.osgi.service.dal.Function
getOperationMetadata, getPropertyMetadata, getServiceProperty

Field Detail
PROPERTY_KEY
public static final String PROPERTY_KEY = "key"
Specifies a property name for a key from the keypad. The property is eventable.
See Also:
KeypadData
Interface Meter
org.osgi.service.dal.functions
All Superinterfaces:
org.osgi.service.dal.Function

public interface Meter
extends org.osgi.service.dal.Function
Meter function can measure metering information. The function provides three properties and one operation:
- PROPERTY_CURRENT
- - property accessible with getCurrent() getter;
- PROPERTY_TOTAL
- - property accessible with getTotal() getter;
- SERVICE_FLOW
- - property accessible with getTotal() getter;
- OPERATION_RESET_TOTAL
- - operation can be executed with resetTotal().
As an example, the function is easily mappable to ZigBee Simple Metering cluster and Z-Wave Meter command class. The sensor type can be:
- Types.TYPE_PRESSURE
- Types.TYPE_GAS
- Types.TYPE_POWER
- Types.TYPE_WATER
- Types.TYPE_HEAT
- Types.TYPE_COLD
- other type defined in Types
- custom - vendor specific type
See Also:
LevelData

Field Summary		Page
String	FLOW_IN / Represents the metering consumption flow.	24
String	FLOW_OUT / Represents the metering generation flow.	24
String	OPERATION_RESET_TOTAL / Specifies the reset total operation name.	25
String	PROPERTY_CURRENT / Specifies the current consumption property name.	24
String	PROPERTY_TOTAL / Specifies the total consumption property name.	24
String	SERVICE_FLOW / The service property value contains the metering flow.	24

Fields inherited from interface org.osgi.service.dal.Function
SERVICE_DESCRIPTION, SERVICE_DEVICE_UID, SERVICE_OPERATION_NAMES, SERVICE_PROPERTY_NAMES, SERVICE_REFERENCE_UIDS, SERVICE_TYPE, SERVICE_UID, SERVICE_VERSION

Method Summary		Page
LevelData	getCurrent() / Returns the current metering info.	25
LevelData	getTotal() / Returns the total metering info.	25
void	resetTotal() / Resets the total metering info.	25

Methods inherited from interface org.osgi.service.dal.Function
getOperationMetadata, getPropertyMetadata, getServiceProperty

Field Detail
FLOW_IN
public static final String FLOW_IN = "in"
Represents the metering consumption flow. It can be used as SERVICE_FLOW property value.

FLOW_OUT
public static final String FLOW_OUT = "out"
Represents the metering generation flow. It can be used as SERVICE_FLOW property value.

SERVICE_FLOW
public static final String SERVICE_FLOW = "dal.meter.flow"
The service property value contains the metering flow. It's an optional property and available only if it's supported by the meter. The value type is java.lang.String. Possible property values:
- FLOW_IN
- FLOW_OUT

PROPERTY_CURRENT
public static final String PROPERTY_CURRENT = "current"
Specifies the current consumption property name. The property can be read with getCurrent() getter.

PROPERTY_TOTAL
public static final String PROPERTY_TOTAL = "total"
Specifies the total consumption property name. It has been measured since the last call of resetTotal() or device initial run. The property can be read with getTotal() getter.

OPERATION_RESET_TOTAL
public static final String OPERATION_RESET_TOTAL = "resetTotal"
Specifies the reset total operation name. The operation can be executed with resetTotal() method.
Method Detail
getCurrent
LevelData getCurrent()
              throws UnsupportedOperationException,
                     IllegalStateException,
                     org.osgi.service.dal.DeviceException
Returns the current metering info. It's a getter method for PROPERTY_CURRENT property.
Returns:
The current metering info.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
See Also:
LevelData

getTotal
LevelData getTotal()
            throws UnsupportedOperationException,
                   IllegalStateException,
                   org.osgi.service.dal.DeviceException
Returns the total metering info. It's a getter method for PROPERTY_TOTAL property.
Returns:
The total metering info.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
See Also:
LevelData

resetTotal
void resetTotal()
         throws UnsupportedOperationException,
                IllegalStateException,
                org.osgi.service.dal.DeviceException
Resets the total metering info.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
Interface MultiLevelControl
org.osgi.service.dal.functions
All Superinterfaces:
org.osgi.service.dal.Function

public interface MultiLevelControl
extends org.osgi.service.dal.Function
MultiLevelControl function provides multi-level control support. The function level is accessible with getData() getter, setData(BigDecimal) setter and setData(BigDecimal, String) setter.
As an example, the function is easily mappable to ZigBee Level Control and Z-Wave Multilevel Switch command class. The control type can be:
- Types.TYPE_LIGHT
- Types.TYPE_TEMPERATURE
- Types.TYPE_FLOW
- Types.TYPE_PRESSURE
- Types.TYPE_HUMIDITY
- Types.TYPE_GAS
- Types.TYPE_SMOKE
- Types.TYPE_DOOR
- Types.TYPE_WINDOW
- Types.TYPE_LIQUID
- Types.TYPE_POWER
- Types.TYPE_NOISINESS
- other type defined in Types
- custom - vendor specific type
See Also:
LevelData

Field Summary		Page
String	PROPERTY_DATA / Specifies the level property name.	27

Fields inherited from interface org.osgi.service.dal.Function
SERVICE_DESCRIPTION, SERVICE_DEVICE_UID, SERVICE_OPERATION_NAMES, SERVICE_PROPERTY_NAMES, SERVICE_REFERENCE_UIDS, SERVICE_TYPE, SERVICE_UID, SERVICE_VERSION

Method Summary		Page
LevelData	getData() / Returns MultiLevelControl level.	27
void	setData(BigDecimal level) / Sets MultiLevelControl level to the specified value.	27
void	setData(BigDecimal level, String unit) / Sets MultiLevelControl level according to the specified unit.	28

Methods inherited from interface org.osgi.service.dal.Function
getOperationMetadata, getPropertyMetadata, getServiceProperty

Field Detail
PROPERTY_DATA
public static final String PROPERTY_DATA = "data"
Specifies the level property name. The property can be read with getData() getter and can be set with setData(BigDecimal) or setData(BigDecimal, String) setters.
Method Detail
getData
LevelData getData()
           throws UnsupportedOperationException,
                  IllegalStateException,
                  org.osgi.service.dal.DeviceException
Returns MultiLevelControl level. It's a getter method for PROPERTY_DATA property.
Returns:
MultiLevelControl level.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
See Also:
LevelData

setData
void setData(BigDecimal level)
      throws UnsupportedOperationException,
             IllegalStateException,
             org.osgi.service.dal.DeviceException,
             IllegalArgumentException
Sets MultiLevelControl level to the specified value. It's a setter method for PROPERTY_DATA property.
Parameters:
level - The new control level.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
IllegalArgumentException - If there is an invalid argument.

setData
void setData(BigDecimal level,
             String unit)
      throws UnsupportedOperationException,
             IllegalStateException,
             org.osgi.service.dal.DeviceException,
             IllegalArgumentException
Sets MultiLevelControl level according to the specified unit. It's a setter method for PROPERTY_DATA property.
Parameters:
level - The new control level.
unit - The level unit.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
IllegalArgumentException - If there is an invalid argument.
Interface MultiLevelSensor
org.osgi.service.dal.functions
All Superinterfaces:
org.osgi.service.dal.Function

public interface MultiLevelSensor
extends org.osgi.service.dal.Function
MultiLevelSensor function provides multi-level sensor monitoring. It reports its state when an important event is available. The state is accessible with getData() getter. There are no operations.
As an example, the function is easily mappable to ZigBee Illuminance Measurement, Temperature Measurement, Pressure Measurement, Flow Measurement and Relative Humidity Measurement cluster and Z-Wave Multilevel Sensor command class. The sensor type can be:
- Types.TYPE_LIGHT
- Types.TYPE_TEMPERATURE
- Types.TYPE_FLOW
- Types.TYPE_PRESSURE
- Types.TYPE_HUMIDITY
- Types.TYPE_GAS
- Types.TYPE_SMOKE
- Types.TYPE_DOOR
- Types.TYPE_WINDOW
- Types.TYPE_LIQUID
- Types.TYPE_POWER
- Types.TYPE_NOISINESS
- Types.TYPE_RAIN
- other type defined in Types
- custom - vendor specific type
See Also:
LevelData

Field Summary		Page
String	PROPERTY_DATA / Specifies the state property name.	30

Fields inherited from interface org.osgi.service.dal.Function
SERVICE_DESCRIPTION, SERVICE_DEVICE_UID, SERVICE_OPERATION_NAMES, SERVICE_PROPERTY_NAMES, SERVICE_REFERENCE_UIDS, SERVICE_TYPE, SERVICE_UID, SERVICE_VERSION

Method Summary		Page
LevelData	getData() / Returns the MultiLevelSensor current state.	30

Methods inherited from interface org.osgi.service.dal.Function
getOperationMetadata, getPropertyMetadata, getServiceProperty

Field Detail
PROPERTY_DATA
public static final String PROPERTY_DATA = "data"
Specifies the state property name. The property can be read with getData() getter.
See Also:
LevelData
Method Detail
getData
LevelData getData()
           throws UnsupportedOperationException,
                  IllegalStateException,
                  org.osgi.service.dal.DeviceException
Returns the MultiLevelSensor current state. It's a getter method for PROPERTY_DATA property.
Returns:
The MultiLevelSensor current state.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
See Also:
LevelData
Interface Types
org.osgi.service.dal.functions

public interface Types
Shares common constants for all functions defined in this package. The defined function types are mapped as follow:
- TYPE_LIGHT - MultiLevelControl, MultiLevelSensor, BooleanSensor and BooleanControl
- TYPE_TEMPERATURE - MultiLevelControl and MultiLevelSensor
- TYPE_FLOW - MultiLevelControl and MultiLevelSensor
- TYPE_PRESSURE - MultiLevelControl, MultiLevelSensor and Meter
- TYPE_HUMIDITY - MultiLevelControl and MultiLevelSensor
- TYPE_GAS - MultiLevelControl, MultiLevelSensor, BooleanSensor and Meter
- TYPE_SMOKE - MultiLevelControl, MultiLevelSensor and BooleanSensor
- TYPE_DOOR - MultiLevelControl, MultiLevelSensor, BooleanSensor and BooleanControl
- TYPE_WINDOW - MultiLevelControl, MultiLevelSensor, BooleanSensor and BooleanControl
- TYPE_LIQUID - MultiLevelControl and MultiLevelSensor
- TYPE_POWER - MultiLevelControl, MultiLevelSensor, BooleanSensor, BooleanControl and Meter
- TYPE_NOISINESS - MultiLevelControl and MultiLevelSensor
- TYPE_RAIN - MultiLevelSensor and BooleanSensor
- TYPE_CONTACT - BooleanSensor
- TYPE_FIRE - BooleanSensor
- TYPE_OCCUPANCY - BooleanSensor
- TYPE_WATER - BooleanSensor and Meter
- TYPE_MOTION - BooleanSensor
- TYPE_HEAT - Meter
- TYPE_COLD - Meter
The mapping is not mandatory. The function can use custom defined types.

Field Summary		Page
String	TYPE_COLD / The function type is applicable to: / Meter - indicates that the Meter measures thermal energy provided by a source. / This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.	38
String	TYPE_CONTACT / The function type is applicable to: / BinarySensor - indicates that the BinarySensor can detect contact.	37
String	TYPE_DOOR / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control the door position.	35
String	TYPE_FIRE / The function type is applicable to: / BinarySensor - indicates that the BinarySensor can detect fire.	37
String	TYPE_FLOW / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control the flow level.	34
String	TYPE_GAS / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control the gas level.	35
String	TYPE_HEAT / The function type is applicable to: / Meter - indicates that the Meter measures thermal energy provided by a source. / This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.	38
String	TYPE_HUMIDITY / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control the humidity level.	34
String	TYPE_LIGHT / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control light devices.	33
String	TYPE_LIQUID / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control the liquid level.	36
String	TYPE_MOTION / The function type is applicable to: / BinarySensor - indicates that the BinarySensor can detect motion.	38
String	TYPE_NOISINESS / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control the noise level.	36
String	TYPE_OCCUPANCY / The function type is applicable to: / BinarySensor - indicates that the BinarySensor can detect presence.	37
String	TYPE_POWER / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control the power level.	36
String	TYPE_PRESSURE / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control the pressure level.	34
String	TYPE_RAIN / The function type is applicable to: / MultiLevelSensor - indicates that the MultiLevelSensor can monitor the rain rate.	37
String	TYPE_SMOKE / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control the smoke level.	35
String	TYPE_TEMPERATURE / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control temperature devices.	34
String	TYPE_WATER / The function type is applicable to: / BinarySensor - indicates that the BinarySensor can detect water leak.	38
String	TYPE_WINDOW / The function type is applicable to: / MultiLevelControl - indicates that the MultiLevelControl can control the window position.	36

Field Detail
TYPE_LIGHT
public static final String TYPE_LIGHT = "light"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control light devices. Usually, such devices are called dimmable. MultiLevelControl minimum value can switch off the device and MultiLevelControl maximum value can increase the device light to the maximum possible value.
- MultiLevelSensor - indicates that the sensor can monitor the light level.
- BinarySensor - indicates that the BinarySensor can detected light. true state means that there is light. false state means that there is no light.
- BinaryControl - indicates that there is a light device control. true state means that the light device will be turned on. false state means that the light device will be turned off.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_TEMPERATURE
public static final String TYPE_TEMPERATURE = "temperature"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control temperature devices. For example, such device can be thermostat. MultiLevelControl minimum value is the lowest supported temperature. MultiLevelControl maximum value is the highest supported temperature.
- MultiLevelSensor - indicates that the sensor can monitor the temperature.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_FLOW
public static final String TYPE_FLOW = "flow"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control the flow level. MultiLevelControl minimum value is the minimum supported flow level. MultiLevelControl maximum value is the maximum supported flow level.
- MultiLevelSensor - indicates that the sensor can monitor the flow level.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_PRESSURE
public static final String TYPE_PRESSURE = "pressure"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control the pressure level. MultiLevelControl minimum value is the lowest supported pressure level. MultiLevelControl maximum value is the highest supported pressure level.
- MultiLevelSensor - indicates that the sensor can monitor the pressure level.
- Meter - Indicates that the Meter measures pressure.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_HUMIDITY
public static final String TYPE_HUMIDITY = "humidity"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control the humidity level. It's typical functionality for HVAC (heating, ventilation, and air conditioning) devices. MultiLevelControl minimum value is the lowest supported humidity level. MultiLevelControl maximum value is the highest supported humidity level.
- MultiLevelSensor - indicates that the sensor can monitor the humidity level.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_GAS
public static final String TYPE_GAS = "gas"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control the gas level. MultiLevelControl minimum value is the lowest supported gas level. MultiLevelControl maximum value is the highest supported gas level.
- MultiLevelSensor - indicates that the sensor can monitor the gas level.
- BinarySensor - indicates that the BinarySensor supports gas detection. true state means there is gas. false state means that there is no gas.
- Meter - indicates that the Meter measures the gas consumption.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_SMOKE
public static final String TYPE_SMOKE = "smoke"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control the smoke level. MultiLevelControl minimum value is the lowest supported smoke level. MultiLevelControl maximum value is the highest supported smoke level.
- MultiLevelSensor - indicates that the sensor can monitor the smoke level.
- BinarySensor - indicates that the BinarySensor can detect smoke. true state means that there is smoke. false state means that there is no rain.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_DOOR
public static final String TYPE_DOOR = "door"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control the door position. MultiLevelControl minimum value can completely close the door. MultiLevelControl maximum value can open the door to the maximum allowed position.
- MultiLevelSensor - indicates that the sensor can monitor the door position.
- BinarySensor - indicates that the BinarySensor can detect the door state. true state means that the door is opened. false state means that the door is closed.
- BinaryControl - indicates that there is a door position control. true state means that the door will be opened. false state means that the the door will be closed.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_WINDOW
public static final String TYPE_WINDOW = "window"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control the window position. MultiLevelControl minimum value can completely close the window. MultiLevelControl maximum value can open the window to the maximum allowed position.
- MultiLevelSensor - indicates that the sensor can monitor the window position.
- BinarySensor - indicates that the BinarySensor can window state. true state means that the window is opened. false state means that the window is closed.
- BinaryControl - indicates that there is a window position control. true state means that the window will be opened. false state means that the the window will be closed.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_LIQUID
public static final String TYPE_LIQUID = "liquid"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control the liquid level. MultiLevelControl minimum value is the lowest supported liquid level. MultiLevelControl maximum value is the highest supported liquid level.
- MultiLevelSensor - indicates that the sensor can monitor the liquid level.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_POWER
public static final String TYPE_POWER = "power"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control the power level. MultiLevelControl minimum value is the lowest supported power level. MultiLevelControl maximum value is the highest supported power level.
- MultiLevelSensor - indicates that the sensor can monitor the power level.
- BinarySensor - indicates that the BinarySensor can detect motion. true state means that there is power restore. false state means that there is power cut.
- BinaryControl - indicates that there is electricity control. true state means that the power will be restored. false state means that the power will be cut.
- Meter - indicates that the Meter measures the power consumption.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_NOISINESS
public static final String TYPE_NOISINESS = "noisiness"
The function type is applicable to:
- MultiLevelControl - indicates that the MultiLevelControl can control the noise level. MultiLevelControl minimum value is the lowest supported noise level. MultiLevelControl maximum value is the highest supported noise level.
- MultiLevelSensor - indicates that the sensor can monitor the noise level.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_RAIN
public static final String TYPE_RAIN = "rain"
The function type is applicable to:
- MultiLevelSensor - indicates that the MultiLevelSensor can monitor the rain rate. It's not applicable to MultiLevelControl.
- BinarySensor - indicates that the BinarySensor can detect rain. true state means that there is rain. false state means that there is no rain.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_CONTACT
public static final String TYPE_CONTACT = "contact"
The function type is applicable to:
BinarySensor - indicates that the BinarySensor can detect contact. true state means that there is contact. false state means that there is no contact.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_FIRE
public static final String TYPE_FIRE = "fire"
The function type is applicable to:
BinarySensor - indicates that the BinarySensor can detect fire. true state means that there is fire. false state means that there is no fire.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_OCCUPANCY
public static final String TYPE_OCCUPANCY = "occupancy"
The function type is applicable to:
BinarySensor - indicates that the BinarySensor can detect presence. true state means that someone is detected. false state means that nobody is detected.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_WATER
public static final String TYPE_WATER = "water"
The function type is applicable to:
- BinarySensor - indicates that the BinarySensor can detect water leak. true state means that there is water leak. false state means that there is no water leak.
- Meter - indicates that the Meter measures water consumption.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_MOTION
public static final String TYPE_MOTION = "motion"
The function type is applicable to:
BinarySensor - indicates that the BinarySensor can detect motion. true state means that there is motion detection. false state means that there is no motion detection.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_HEAT
public static final String TYPE_HEAT = "heat"
The function type is applicable to:
Meter - indicates that the Meter measures thermal energy provided by a source.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.

TYPE_COLD
public static final String TYPE_COLD = "cold"
The function type is applicable to:
Meter - indicates that the Meter measures thermal energy provided by a source.
This type can be specified as a value of org.osgi.service.dal.Function.SERVICE_TYPE.
Interface WakeUp
org.osgi.service.dal.functions
All Superinterfaces:
org.osgi.service.dal.Function

public interface WakeUp
extends org.osgi.service.dal.Function
WakeUp function provides device awake monitoring and management. It's especially applicable to battery-operated devices. Such device can notify the system that it's awake and can receive commands with an event to property PROPERTY_AWAKE.
The device can periodically wake up for commands. The interval can be managed with PROPERTY_WAKE_UP_INTERVAL property.
The application can minimize the power consumption with sleep() operation. As a result, the device will sleep and will not receive commands to the next awake.
See Also:
LevelData, BooleanData

Field Summary		Page
String	OPERATION_SLEEP / Specifies the sleep operation name.	40
String	PROPERTY_AWAKE / Specifies the awake property name.	40
String	PROPERTY_WAKE_UP_INTERVAL / Specifies the wake up interval.	40

Fields inherited from interface org.osgi.service.dal.Function
SERVICE_DESCRIPTION, SERVICE_DEVICE_UID, SERVICE_OPERATION_NAMES, SERVICE_PROPERTY_NAMES, SERVICE_REFERENCE_UIDS, SERVICE_TYPE, SERVICE_UID, SERVICE_VERSION

Method Summary		Page
LevelData	getWakeUpInterval() / Returns the current wake up interval.	40
void	setWakeUpInterval(BigDecimal interval) / Sets wake up interval according to the default unit.	41
void	setWakeUpInterval(BigDecimal interval, String unit) / Sets wake up interval according to the specified unit.	41
void	sleep() / The device is forced to sleep to minimize the power consumption.	41

Methods inherited from interface org.osgi.service.dal.Function
getOperationMetadata, getPropertyMetadata, getServiceProperty

Field Detail
PROPERTY_AWAKE
public static final String PROPERTY_AWAKE = "awake"
Specifies the awake property name. The property access type can be org.osgi.service.dal.PropertyMetadata.PROPERTY_ACCESS_EVENTABLE. If the device is awake, it will trigger a property event.
The property value type is BooleanData. The boolean data is always true. It marks that the device is awake.

PROPERTY_WAKE_UP_INTERVAL
public static final String PROPERTY_WAKE_UP_INTERVAL = "wakeUpInterval"
Specifies the wake up interval. The device can periodically wake up and receive commands. That interval is managed by this property. The current property value is available with getWakeUpInterval() and can be modified with setWakeUpInterval(BigDecimal) and setWakeUpInterval(BigDecimal, String).

OPERATION_SLEEP
public static final String OPERATION_SLEEP = "sleep"
Specifies the sleep operation name. The operation can be executed with sleep() method.
Method Detail
getWakeUpInterval
LevelData getWakeUpInterval()
                     throws UnsupportedOperationException,
                            IllegalStateException,
                            org.osgi.service.dal.DeviceException
Returns the current wake up interval. It's a getter method for PROPERTY_WAKE_UP_INTERVAL property. The device can periodically wake up and receive command based on this interval.
The interval can be measured in different units like hours, minutes, seconds etc. The unit is specified in LevelData instance.
Returns:
The current wake up interval.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
See Also:
LevelData

setWakeUpInterval
void setWakeUpInterval(BigDecimal interval)
                throws UnsupportedOperationException,
                       IllegalStateException,
                       org.osgi.service.dal.DeviceException,
                       IllegalArgumentException
Sets wake up interval according to the default unit. It's a setter method for PROPERTY_WAKE_UP_INTERVAL property. The device can periodically wake up and receive command based on this interval.
Parameters:
interval - The new wake up interval.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
IllegalArgumentException - If there is an invalid argument.

setWakeUpInterval
void setWakeUpInterval(BigDecimal interval,
                       String unit)
                throws UnsupportedOperationException,
                       IllegalStateException,
                       org.osgi.service.dal.DeviceException,
                       IllegalArgumentException
Sets wake up interval according to the specified unit. It's a setter method for PROPERTY_WAKE_UP_INTERVAL property. The device can periodically wake up and receive command based on this interval.
Parameters:
interval - The new wake up interval.
unit - The interval unit.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
IllegalArgumentException - If there is an invalid argument.

sleep
void sleep()
    throws UnsupportedOperationException,
           IllegalStateException,
           org.osgi.service.dal.DeviceException
The device is forced to sleep to minimize the power consumption.
Throws:
UnsupportedOperationException - If the operation is not supported.
IllegalStateException - If this function service object has already been unregistered.
org.osgi.service.dal.DeviceException - If an operation error is available.
Package org.osgi.service.dal.functions.data
Function Data 1.0.
See:
Description
Class Summary		Page
AlarmData	Function alarm data.	43
BooleanData	Function boolean data wrapper.	50
KeypadData	Represents a keypad event data that is collected when a change with some key from device keypad has occurred.	54
LevelData	Function level data wrapper.	60

Package org.osgi.service.dal.functions.data Description
Function Data 1.0.
Bundles wishing to use this package must list the package in the Import-Package header of the bundle's manifest. This package has two types of users: the consumers that use the API in this package and the providers that implement the API in this package.
Example import for consumers using the API in this package:
Import-Package: org.osgi.service.dal.functions.data; version="[1.0,2.0)"
Example import for providers implementing the API in this package:
Import-Package: org.osgi.service.dal.functions.data; version="[1.0,1.1)"
Class AlarmData
org.osgi.service.dal.functions.data
java.lang.Object
  org.osgi.service.dal.FunctionData
      org.osgi.service.dal.functions.data.AlarmData
All Implemented Interfaces:
Comparable

public class AlarmData
extends org.osgi.service.dal.FunctionData
Function alarm data. It cares about the alarm type, severity, timestamp and additional metadata. It doesn't support unit. The alarm type is mapped to FunctionData value.
See Also:
Alarm, org.osgi.service.dal.FunctionData

Field Summary		Page
static String	FIELD_SEVERITY / Represents the severity field name.	44
static String	FIELD_TYPE / Represents the type field name.	44
int	severity / Represents the alarm severity.	46
static int	SEVERITY_HIGH / The severity rating indicates that there is an alarm with high priority.	46
static int	SEVERITY_LOW / The severity rating indicates that there is an alarm with lowest priority.	46
static int	SEVERITY_MEDIUM / The severity rating indicates that there is an alarm with medium priority.	46
static int	SEVERITY_NONE / The severity constant indicates that there is no severity rating for this alarm.	46
static int	SEVERITY_URGENT / The severity rating indicates that there an urgent alarm.	46
int	type / Represents the alarm type.	46
static int	TYPE_COLD / The alarm type indicates that temperature is too low.	45
static int	TYPE_GAS_CO / The alarm type indicates that carbon monoxide is detected.	45
static int	TYPE_GAS_CO2 / The alarm type indicates that carbon dioxide is detected.	45
static int	TYPE_HEAT / The alarm type indicates that temperature is too high.	45
static int	TYPE_HW_FAIL / The alarm type indicates that there is hardware failure.	45
static int	TYPE_POWER_FAIL / The alarm type indicates a power cut.	45
static int	TYPE_SMOKE / The alarm type indicates that smoke is detected.	45
static int	TYPE_SW_FAIL / The alarm type indicates that there is software failure.	46
static int	TYPE_WATER / The alarm type indicates that water leak is detected.	45

Fields inherited from class org.osgi.service.dal.FunctionData
FIELD_METADATA, FIELD_TIMESTAMP, META_INFO_DESCRIPTION, metadata, timestamp

Constructor Summary	Page
AlarmData(Map fields) / Constructs new AlarmData instance with the specified field values.	47
AlarmData(long timestamp, Map metadata, int severity, int type) / Constructs new AlarmData instance with the specified arguments.	47

Method Summary		Page
int	compareTo(Object o) / Compares this AlarmData instance with the given argument.	48
boolean	equals(Object other) / Two AlarmData instances are equal if they contain equal metadata, timestamp, type and severity.	48
int	getSeverity() / Returns the alarm severity.	48
int	getType() / Returns the alarm type.	47
int	hashCode() / Returns the hash code for this AlarmData object.	48

Methods inherited from class org.osgi.service.dal.FunctionData
getMetadata, getTimestamp

Field Detail
FIELD_SEVERITY
public static final String FIELD_SEVERITY = "severity"
Represents the severity field name. The field value is available with severity and getSeverity(). The field type is int. The constant can be used as a key to AlarmData(Map).

FIELD_TYPE
public static final String FIELD_TYPE = "type"
Represents the type field name. The field value is available with type and getType(). The field type is int. The constant can be used as a key to AlarmData(Map).

TYPE_SMOKE
public static final int TYPE_SMOKE = 1
The alarm type indicates that smoke is detected.

TYPE_HEAT
public static final int TYPE_HEAT = 2
The alarm type indicates that temperature is too high.

TYPE_COLD
public static final int TYPE_COLD = 3
The alarm type indicates that temperature is too low.

TYPE_GAS_CO2
public static final int TYPE_GAS_CO2 = 4
The alarm type indicates that carbon dioxide is detected.

TYPE_GAS_CO
public static final int TYPE_GAS_CO = 5
The alarm type indicates that carbon monoxide is detected.

TYPE_WATER
public static final int TYPE_WATER = 6
The alarm type indicates that water leak is detected.

TYPE_POWER_FAIL
public static final int TYPE_POWER_FAIL = 7
The alarm type indicates a power cut.

TYPE_HW_FAIL
public static final int TYPE_HW_FAIL = 8
The alarm type indicates that there is hardware failure.

TYPE_SW_FAIL
public static final int TYPE_SW_FAIL = 9
The alarm type indicates that there is software failure.

SEVERITY_NONE
public static final int SEVERITY_NONE = 0
The severity constant indicates that there is no severity rating for this alarm.

SEVERITY_LOW
public static final int SEVERITY_LOW = 1
The severity rating indicates that there is an alarm with lowest priority.

SEVERITY_MEDIUM
public static final int SEVERITY_MEDIUM = 2
The severity rating indicates that there is an alarm with medium priority. The severity priority is higher than SEVERITY_LOW and lower than SEVERITY_HIGH.

SEVERITY_HIGH
public static final int SEVERITY_HIGH = 3
The severity rating indicates that there is an alarm with high priority. The severity priority is higher than SEVERITY_MEDIUM and lower than SEVERITY_URGENT.

SEVERITY_URGENT
public static final int SEVERITY_URGENT = 4
The severity rating indicates that there an urgent alarm. That severity has highest priority.

severity
public final int severity
Represents the alarm severity. The field is accessible with getSeverity() getter. The vendor can define own alarm severity ratings with negative values.

type
public final int type
Represents the alarm type. The field is accessible with getType() getter. The vendor can define own alarm types with negative values.
Constructor Detail
AlarmData
public AlarmData(Map fields)
Constructs new AlarmData instance with the specified field values. The map keys must match to the field names. The map values will be assigned to the appropriate class fields. For example, the maps can be: {"severity"=Integer(1)...}. That map will initialize the FIELD_SEVERITY field with 1. If severity is missing, SEVERITY_NONE is used.
FIELD_SEVERITY field value type must be Integer. FIELD_TYPE field value type must be Integer.
Parameters:
fields - Contains the new AlarmData instance field values.
Throws:
ClassCastException - If the field value types are not expected.
IllegalArgumentException - If the alarm type is missing.
NullPointerException - If the fields map is null.

AlarmData
public AlarmData(long timestamp,
                 Map metadata,
                 int severity,
                 int type)
Constructs new AlarmData instance with the specified arguments.
Parameters:
timestamp - The alarm data timestamp.
metadata - The alarm data metadata.
severity - The alarm data severity.
type - The alarm data type.
Method Detail
getType
public int getType()
Returns the alarm type. The type can be one of the predefined:
- TYPE_SMOKE
- TYPE_HEAT
- TYPE_COLD
- TYPE_GAS_CO
- TYPE_GAS_CO2
- TYPE_WATER
- TYPE_POWER_FAIL
- TYPE_HW_FAIL
- TYPE_SW_FAIL
The vendor can define own alarm types with negative values.
Returns:
The alarm type.

getSeverity
public int getSeverity()
Returns the alarm severity.
Returns:
The alarm severity.

equals
public boolean equals(Object other)
Two AlarmData instances are equal if they contain equal metadata, timestamp, type and severity.
Overrides:
equals in class org.osgi.service.dal.FunctionData
Parameters:
other - The object to compare this data.
Returns:
true if this object is equivalent to the specified one.
See Also:
org.osgi.service.dal.FunctionData.equals(java.lang.Object)

hashCode
public int hashCode()
Returns the hash code for this AlarmData object. The hash code is a sum of org.osgi.service.dal.FunctionData.hashCode(), the alarm severity and the alarm type.
Overrides:
hashCode in class org.osgi.service.dal.FunctionData
Returns:
The hash code of this AlarmData object.
See Also:
org.osgi.service.dal.FunctionData.hashCode()

compareTo
public int compareTo(Object o)
Compares this AlarmData instance with the given argument. The argument can be:
- AlarmData - the method returns -1 if metadata, timestamp, type or severity are not equivalent. 0 if all fields are equivalent. 1 if all fields are equivalent and this instance severity is greater than the severity of the specified argument.
- Map - the map must be built according the rules of AlarmData(Map). Metadata, timestamp, type and severity are compared according AlarmData argument rules.
Specified by:
compareTo in interface Comparable
Parameters:
o - An argument to be compared.
Returns:
-1, 0 or 1 depending on the comparison rules.
Throws:
ClassCastException - If the method is called with Map and the field value types are not expected.
IllegalArgumentException - If the method is called with Map and the alarm type is missing.
NullPointerException - If the argument is null.
See Also:
Comparable.compareTo(java.lang.Object)
Class BooleanData
org.osgi.service.dal.functions.data
java.lang.Object
  org.osgi.service.dal.FunctionData
      org.osgi.service.dal.functions.data.BooleanData
All Implemented Interfaces:
Comparable

public class BooleanData
extends org.osgi.service.dal.FunctionData
Function boolean data wrapper. It can contain a boolean value, timestamp and additional metadata. It doesn't support measurement unit.
See Also:
BooleanControl, BooleanSensor, org.osgi.service.dal.FunctionData

Field Summary		Page
static String	FIELD_VALUE / Represents the value field name.	51
boolean	value / Represents the boolean value.	51

Fields inherited from class org.osgi.service.dal.FunctionData
FIELD_METADATA, FIELD_TIMESTAMP, META_INFO_DESCRIPTION, metadata, timestamp

Constructor Summary	Page
BooleanData(Map fields) / Constructs new BooleanData instance with the specified field values.	51
BooleanData(long timestamp, Map metadata, boolean value) / Constructs new BooleanData instance with the specified arguments.	51

Method Summary		Page
int	compareTo(Object o) / Compares this BooleanData instance with the given argument.	52
boolean	equals(Object other) / Two BooleanData instances are equal if they contain equal metadata, timestamp and boolean value.	52
boolean	getValue() / Returns BooleanData value.	51
int	hashCode() / Returns the hash code for this BooleanData object.	52

Methods inherited from class org.osgi.service.dal.FunctionData
getMetadata, getTimestamp

Field Detail
FIELD_VALUE
public static final String FIELD_VALUE = "value"
Represents the value field name. The field value is available with value and getValue(). The field type is boolean. The constant can be used as a key to BooleanData(Map).

value
public final boolean value
Represents the boolean value. The field is accessible with getValue() getter.
Constructor Detail
BooleanData
public BooleanData(Map fields)
Constructs new BooleanData instance with the specified field values. The map keys must match to the field names. The map values will be assigned to the appropriate class fields. For example, the maps can be: {"value"=Boolean(true)...}. That map will initialize the FIELD_VALUE field with true.
FIELD_VALUE field value type must be Boolean.
Parameters:
fields - Contains the new BooleanData instance field values.
Throws:
ClassCastException - If the field value types are not expected.
IllegalArgumentException - If the value is missing.
NullPointerException - If the fields map is null.

BooleanData
public BooleanData(long timestamp,
                   Map metadata,
                   boolean value)
Constructs new BooleanData instance with the specified arguments.
Parameters:
timestamp - The boolean data timestamp.
metadata - The boolean data metadata.
value - The boolean value.
Method Detail
getValue
public boolean getValue()
Returns BooleanData value.
Returns:
BooleanData value.

equals
public boolean equals(Object other)
Two BooleanData instances are equal if they contain equal metadata, timestamp and boolean value.
Overrides:
equals in class org.osgi.service.dal.FunctionData
Parameters:
other - The object to compare this data.
Returns:
true if this object is equivalent to the specified one.
See Also:
org.osgi.service.dal.FunctionData.equals(java.lang.Object)

hashCode
public int hashCode()
Returns the hash code for this BooleanData object. The hash code is a sum of org.osgi.service.dal.FunctionData.hashCode() and Boolean.hashCode(), where Boolean.hashCode() represents the boolean value hash code.
Overrides:
hashCode in class org.osgi.service.dal.FunctionData
Returns:
The hash code of this BooleanData object.
See Also:
org.osgi.service.dal.FunctionData.hashCode()

compareTo
public int compareTo(Object o)
Compares this BooleanData instance with the given argument. The argument can be:
- Boolean - the method returns 0 if this instance contains equivalent boolean value. -1 if this instance contains false and the argument is true. 1 if this instance contains true and the argument is false.
- BooleanData - the method returns -1 if metadata or timestamp are not equivalent. Otherwise, the boolean value is compared with the same rules as Boolean argument.
- Map - the map must be built according the rules of BooleanData(Map). Metadata, timestamp and value are compared according BooleanData and Boolean argument rules.
Specified by:
compareTo in interface Comparable
Parameters:
o - An argument to be compared.
Returns:
-1, 0 or 1 depending on the comparison rules.
Throws:
ClassCastException - If the method is called with Map and field value types are not expected.
IllegalArgumentException - If the method is called with Map and the value is missing.
NullPointerException - If the argument is null.
See Also:
Comparable.compareTo(java.lang.Object)
Class KeypadData
org.osgi.service.dal.functions.data
java.lang.Object
  org.osgi.service.dal.FunctionData
      org.osgi.service.dal.functions.data.KeypadData
All Implemented Interfaces:
Comparable

public class KeypadData
extends org.osgi.service.dal.FunctionData
Represents a keypad event data that is collected when a change with some key from device keypad has occurred. The key code is mapped to FunctionData value.
See Also:
Keypad, org.osgi.service.dal.FunctionData

Field Summary		Page
static int	EVENT_TYPE_PRESSED / Represents a keypad event type for a key pressed.	56
static int	EVENT_TYPE_PRESSED_DOUBLE / Represents a keypad event type for a double key pressed.	56
static int	EVENT_TYPE_PRESSED_DOUBLE_LONG / Represents a keypad event type for a double and long key pressed.	56
static int	EVENT_TYPE_PRESSED_LONG / Represents a keypad event type for a long key pressed.	56
static int	EVENT_TYPE_RELEASED / Represents a keypad event type for a key released.	56
static int	EVENT_TYPE_UNKNOWN / Represents an unknown keypad event type.	56
int	eventType / Represents the keypad event type.	56
static String	FIELD_EVENT_TYPE / Represents the event type field name.	55
static String	FIELD_KEY_CODE / Represents the key code field name.	55
static String	FIELD_KEY_NAME / Represents the key name field name.	55
int	keyCode / Represents the key code.	57
String	keyName / Represents the key name, if it's available.	56

Fields inherited from class org.osgi.service.dal.FunctionData
FIELD_METADATA, FIELD_TIMESTAMP, META_INFO_DESCRIPTION, metadata, timestamp

Constructor Summary	Page
KeypadData(Map fields) / Constructs new KeypadData instance with the specified field values.	57
KeypadData(long timestamp, Map metadata, int eventType, int keyCode, String keyName) / Constructs new KeypadData instance with the specified arguments.	57

Method Summary		Page
int	compareTo(Object o) / Compares this KeypadData instance with the given argument.	58
boolean	equals(Object other) / Two KeypadData instances are equal if they contain equal metadata, timestamp, event type, key code and key name.	58
int	getEventType() / Returns the event type.	57
int	getKeyCode() / The code of the key.	58
String	getKeyName() / Represents a human readable name of the corresponding key code.	58
int	hashCode() / Returns the hash code for this KeypadData object.	58

Methods inherited from class org.osgi.service.dal.FunctionData
getMetadata, getTimestamp

Field Detail
FIELD_KEY_NAME
public static final String FIELD_KEY_NAME = "keyName"
Represents the key name field name. The field value is available with keyName and getKeyName(). The field type is String. The constant can be used as a key to KeypadData(Map).

FIELD_EVENT_TYPE
public static final String FIELD_EVENT_TYPE = "eventType"
Represents the event type field name. The field value is available with eventType and getEventType(). The field type is int. The constant can be used as a key to KeypadData(Map).

FIELD_KEY_CODE
public static final String FIELD_KEY_CODE = "keyCode"
Represents the key code field name. The field value is available with keyCode and getKeyCode(). The field type is int. The constant can be used as a key to KeypadData(Map).

EVENT_TYPE_UNKNOWN
public static final int EVENT_TYPE_UNKNOWN = 0
Represents an unknown keypad event type.

EVENT_TYPE_PRESSED
public static final int EVENT_TYPE_PRESSED = 1
Represents a keypad event type for a key pressed.

EVENT_TYPE_PRESSED_LONG
public static final int EVENT_TYPE_PRESSED_LONG = 2
Represents a keypad event type for a long key pressed.

EVENT_TYPE_PRESSED_DOUBLE
public static final int EVENT_TYPE_PRESSED_DOUBLE = 3
Represents a keypad event type for a double key pressed.

EVENT_TYPE_PRESSED_DOUBLE_LONG
public static final int EVENT_TYPE_PRESSED_DOUBLE_LONG = 4
Represents a keypad event type for a double and long key pressed.

EVENT_TYPE_RELEASED
public static final int EVENT_TYPE_RELEASED = 5
Represents a keypad event type for a key released.

eventType
public final int eventType
Represents the keypad event type. The vendor can define own event types with negative values. The field is accessible with getEventType() getter.

keyName
public final String keyName
Represents the key name, if it's available. The field is accessible with getKeyName() getter.

keyCode
public final int keyCode
Represents the key code. This field is mandatory and it holds the semantics(meaning) of the key. The field is accessible with getKeyCode() getter.
Constructor Detail
KeypadData
public KeypadData(Map fields)
Constructs new KeypadData instance with the specified field values. The map keys must match to the field names. The map values will be assigned to the appropriate class fields. For example, the maps can be: {"eventType"=Integer(1)...}. That map will initialize the FIELD_EVENT_TYPE field with 1.
FIELD_EVENT_TYPE field value type must be Integer. FIELD_KEY_CODE field value type must be Integer. FIELD_KEY_NAME field value type must be String.
Parameters:
fields - Contains the new KeypadData instance field values.
Throws:
ClassCastException - If the field value types are not expected.
IllegalArgumentException - If the event type or key code is missing.
NullPointerException - If the fields map is null.

KeypadData
public KeypadData(long timestamp,
                  Map metadata,
                  int eventType,
                  int keyCode,
                  String keyName)
Constructs new KeypadData instance with the specified arguments.
Parameters:
timestamp - The data timestamp.
metadata - The data metadata.
eventType - The data event type.
keyCode - The data key code.
keyName - The data key name.
Method Detail
getEventType
public int getEventType()
Returns the event type. The vendor can define own event types with negative values.
Returns:
The event type.

getKeyCode
public int getKeyCode()
The code of the key. This field is mandatory and it holds the semantics(meaning) of the key.
Returns:
The key code.

getKeyName
public String getKeyName()
Represents a human readable name of the corresponding key code. This field is optional and sometimes it could be missed(might be null).
Returns:
A string with the name of the key or null if not specified.

equals
public boolean equals(Object other)
Two KeypadData instances are equal if they contain equal metadata, timestamp, event type, key code and key name.
Overrides:
equals in class org.osgi.service.dal.FunctionData
Parameters:
other - The object to compare this data.
Returns:
true if this object is equivalent to the specified one.
See Also:
org.osgi.service.dal.FunctionData.equals(java.lang.Object)

hashCode
public int hashCode()
Returns the hash code for this KeypadData object. The hash code is a sum of org.osgi.service.dal.FunctionData.hashCode(), String.hashCode(), event type and key code, where String.hashCode() represents the key name hash code if available.
Overrides:
hashCode in class org.osgi.service.dal.FunctionData
Returns:
The hash code of this LevelData object.
See Also:
org.osgi.service.dal.FunctionData.hashCode()

compareTo
public int compareTo(Object o)
Compares this KeypadData instance with the given argument. The argument can be:
- KeypadData - the method returns -1 if metadata, timestamp, event type, key code or key name are not equivalent. 0 if all fields are equivalent.
- Map - the map must be built according the rules of KeypadData(Map). Metadata, timestamp, event type, key code and key name are compared according KeypadData argument rules.
Specified by:
compareTo in interface Comparable
Parameters:
o - An argument to be compared.
Returns:
-1 or 0 depending on the comparison rules.
Throws:
ClassCastException - If the method is called with Map and the field value types are not expected.
IllegalArgumentException - If the method is called with Map and the event type or key code is missing.
NullPointerException - If the argument is null.
See Also:
Comparable.compareTo(java.lang.Object)
Class LevelData
org.osgi.service.dal.functions.data
java.lang.Object
  org.osgi.service.dal.FunctionData
      org.osgi.service.dal.functions.data.LevelData
All Implemented Interfaces:
Comparable

public class LevelData
extends org.osgi.service.dal.FunctionData
Function level data wrapper. It supports all properties defined in FunctionData.
See Also:
MultiLevelControl, MultiLevelSensor, Meter, org.osgi.service.dal.FunctionData

Field Summary		Page
static String	FIELD_LEVEL / Represents the level field name.	61
static String	FIELD_UNIT / Represents the unit field name.	61
BigDecimal	level / Represents the current level.	61
String	unit / Represent the unit as it's defined in org.osgi.service.dal.PropertyMetadata.UNITS.	61

Fields inherited from class org.osgi.service.dal.FunctionData
FIELD_METADATA, FIELD_TIMESTAMP, META_INFO_DESCRIPTION, metadata, timestamp

Constructor Summary	Page
LevelData(Map fields) / Constructs new LevelData instance with the specified field values.	61
LevelData(long timestamp, Map metadata, String unit, BigDecimal level) / Constructs new LevelData instance with the specified arguments.	62

Method Summary		Page
int	compareTo(Object o) / Compares this LevelData instance with the given argument.	63
boolean	equals(Object other) / Two LevelData instances are equal if they contain equal metadata, timestamp, unit and level.	62
BigDecimal	getLevel() / Returns LevelData value.	62
String	getUnit() / Returns LevelData unit as it's specified in org.osgi.service.dal.PropertyMetadata.UNITS or null if the unit is missing.	62
int	hashCode() / Returns the hash code for this LevelData object.	63

Methods inherited from class org.osgi.service.dal.FunctionData
getMetadata, getTimestamp

Field Detail
FIELD_LEVEL
public static final String FIELD_LEVEL = "level"
Represents the level field name. The field value is available with level and getLevel(). The field type is BigDecimal. The constant can be used as a key to LevelData(Map).

FIELD_UNIT
public static final String FIELD_UNIT = "unit"
Represents the unit field name. The field value is available with unit and getUnit(). The field type is String. The constant can be used as a key to LevelData(Map).

unit
public final String unit
Represent the unit as it's defined in org.osgi.service.dal.PropertyMetadata.UNITS. The field is optional. The field is accessible with getUnit() getter.

level
public final BigDecimal level
Represents the current level. It's mandatory field. The field is accessible with getLevel() getter.
Constructor Detail
LevelData
public LevelData(Map fields)
Constructs new LevelData instance with the specified field values. The map keys must match to the field names. The map values will be assigned to the appropriate class fields. For example, the maps can be: {"level"=BigDecimal(1)...}. That map will initialize the FIELD_LEVEL field with 1.
FIELD_UNIT field value type must be String. FIELD_LEVEL field value type must be BigDecimal.
Parameters:
fields - Contains the new LevelData instance field values.
Throws:
ClassCastException - If the field value types are not expected.
IllegalArgumentException - If the level is missing.
NullPointerException - If the fields map is null.

LevelData
public LevelData(long timestamp,
                 Map metadata,
                 String unit,
                 BigDecimal level)
Constructs new LevelData instance with the specified arguments.
Parameters:
timestamp - The data timestamp.
metadata - The data metadata.
unit - The data unit.
level - The level value.
Method Detail
getLevel
public BigDecimal getLevel()
Returns LevelData value. The value type is BigDecimal instead of double to guarantee value accuracy.
Returns:
The LevelData value.

getUnit
public String getUnit()
Returns LevelData unit as it's specified in org.osgi.service.dal.PropertyMetadata.UNITS or null if the unit is missing.
Returns:
The value unit or null if the unit is missing.

equals
public boolean equals(Object other)
Two LevelData instances are equal if they contain equal metadata, timestamp, unit and level.
Overrides:
equals in class org.osgi.service.dal.FunctionData
Parameters:
other - The object to compare this data.
Returns:
true if this object is equivalent to the specified one.
See Also:
org.osgi.service.dal.FunctionData.equals(java.lang.Object)

hashCode
public int hashCode()
Returns the hash code for this LevelData object. The hash code is a sum of org.osgi.service.dal.FunctionData.hashCode(), String.hashCode() and BigDecimal.hashCode(), where String.hashCode() represents the unit hash code and BigDecimal.hashCode() represents the level hash code.
Overrides:
hashCode in class org.osgi.service.dal.FunctionData
Returns:
The hash code of this LevelData object.
See Also:
org.osgi.service.dal.FunctionData.hashCode()

compareTo
public int compareTo(Object o)
Compares this LevelData instance with the given argument. The argument can be:
- BigDecimal - the method returns the result of BigDecimal.compareTo(Object) for this instance level and the specified argument.
- LevelData - the method returns -1 if metadata, timestamp or unit are not equivalent. Otherwise, the level is compared with the same rules as BigDecimal argument.
- Map - the map must be built according the rules of LevelData(Map). Metadata, timestamp, unit and level are compared according BigDecimal and LevelData argument rules.
Specified by:
compareTo in interface Comparable
Parameters:
o - An argument to be compared.
Returns:
-1, 0 or 1 depending on the comparison rules.
Throws:
ClassCastException - If the method is called with Map and the field value types are not expected.
IllegalArgumentException - If the method is called with Map and the level is missing.
NullPointerException - If the argument is null.
See Also:
Comparable.compareTo(java.lang.Object)
Java API documentation generated with DocFlex/Doclet v1.5.6
DocFlex/Doclet is both a multi-format Javadoc doclet and a free edition of DocFlex/Javadoc. If you need to customize your Javadoc without writing a full-blown doclet from scratch, DocFlex/Javadoc may be the only tool able to help you! Find out more at www.docflex.com

# Considered Alternatives
Currently, there are no alternatives.
# Security Considerations
Currenty, the security is covered by OSGi Device Abstraction Layer.
# Document Support
## References
1. Bradner, S., Key words for use in RFCs to Indicate Requirement Levels, RFC2119, March 1997.
2. Software Requirements & Specifications. Michael Jackson. ISBN 0-201-87712-0
## Author’s Address

Name	Evgeni Grigorov
Company	ProSyst Software
Address	Aachenerstr. 222, 50935 Cologne, Germany
Voice	+49 221 6604 501
e-mail	e.grigorov@prosyst.com

## End of Document